## Property Details
Keys | Description | Values | Values | Values
property_code | Property code: This should be the same name / code that you have been using to describe this property throughout the BPE reporting process. For more help refer to the "guidance notes" tab | EX001 | EX001 | EX001
profile_data_event_type | Event: from the dropdown select Create, As designed, As built or any number of Interventions. For more help refer to the "guidance notes" tab | Create | As designed | As built
timestamp | Timestamp: Date required. For more help refer to the "guidance notes" tab | 2014-09-16 | 2014-09-16 | 2014-09-16
Address
property_data_address_street | Name/number and street | 18 Fake Street
property_data_address_street_two | Street (2)
property_data_address_city | Town/City | Fake Town
property_data_address_code | Post code | XX1 1XX
property_data_address_country | Country | England
property_data_terrain | Terrain | Suburban
Property Overview
property_data_property_type | Property type (select from dropdown or specify other below) | House
property_data_property_type_other | Property type other
property_data_built_form | Built form (select from dropdown or specify other below) | End-terrace
property_data_built_form_other | Built form other
property_data_sap_regulations_date | Dwelling built under building regulations dated | England and Wales 2006
property_data_building_regulations_other | Building regulations other
Project details
property_data_project_phase | BPE Project Phase (please select from the dropdown) | Phase 2 (In-use and post occupancy)
property_data_monitoring_hierarchy | Monitoring hierarchy (please select from the dropdown) | 3 - whole house monitoring with sub metering & occupant evaluation
property_data_construction_start_date | Construction start date - mm-yyyy (if known)
property_data_project_summary | Briefly describe the project and property
property_data_design_strategy | Outline the design intent
property_data_project_team | Give an outline to the project team
property_data_monitoring_policy | Briefly describe the monitoring approach
property_data_planning_considerations | Outline any planning considerations
property_data_other_notes | Give any other information you feel is relevant to the overall understanding of this study
Approach / lessons learnt - for more help refer to the "guidance notes" tab
profile_data_energy_strategy | Briefly describe the energy strategy AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_fabric_energy_efficiency | Briefly describe the fabric strategy, including approaches to thermal bridging, airtightness and ventilation, AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_overheating_strategy | Briefly describe strategies employed to deal with overheating AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_controls_strategy | Outline the approach to providing services and controls AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_water_saving_strategy | Outline any water saving strategies AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_innovation_approaches | Detail any other approaches considered, especially innovative approaches, AS DESIGNED in the appropriate column Update for any lessons learnt as a result of the study in the AS BUILT column
profile_data_modelling_software_methods_used | Select the modelling software used (predominantly) from the dropdown |  | SAP | SAP
profile_data_intention_ofpassvhaus | Was the project designed / built to passivhaus standard (note different answers are required for as designed / as built if design intent did not meet reality) |  | No | No
profile_data_used_passivehaus_principles | Was the project designed / built to passivhaus principles, but full certification not sought (note different answers are required for as designed / as built if design intent did not meet reality) |  | No | No
profile_data_housing_tenure | Housing tenure
profile_data_housing_tenure_other | Housing tenure other
profile_data_occupancy_total | Total number of occupants
For flats only
profile_data_flat_floors_in_block | How many floors in block
profile_data_flat_floor_position | On what floor is this flat (use ground floor as 1)
profile_data_flat_heat_loss_corridor | Any heat loss to a corridor
profile_data_flat_heat_loss_corridor_other | Any heat loss to a corridor (specify if other selected above)
Information below should be derived from SAP for AS DESIGNED information In-situ measurements and tests for AS BUILT Information
DWELLING DIMENSIONS
profile_data_bedroom_count | Total number of bedrooms
profile_data_footprint | Footprint (internal ground floor area m²)
profile_data_external_perimeter | Exposed perimeter (m) (see pop-up for definition)
profile_data_gross_internal_area | Gross internal area (m²)
profile_data_number_of_storeys | Number of storeys (counting ground floor as 1)
profile_data_total_volume | Total property volume (m³) (see pop-up for definition)
profile_data_orientation | House orientation (derived from the orientation of the principle axis of the house)
profile_data_total_rooms | Total number of rooms (see pop-up for definition)
profile_data_habitable_rooms | Number of habitable rooms (see pop-up for definition)
profile_data_roof_rooms_present | Any roof rooms present (please note in other below)
profile_data_electricity_storage_present | Any electricity storage present (please note in other below)
profile_data_heat_storage_present | Any heat storage present (please note in other below)
profile_data_heat_storage_other | Please note comments related to "other" responses here
Modelled Energy (SAP)
profile_data_ber | DER (kgCO2/m2/yr)
profile_data_ter | TER (kgCO2/m2/yr)
profile_data_primary_energy_requirement | Total primary energy requirement (kWh/m²/yr)
profile_data_space_heating_requirement | Annual space heating requirement (kWh/m²/yr)
profile_data_annual_heating_load | Annual hot water heating requirement (kWh/yr)
profile_data_renewable_contribution_heat | Renewable contribution heat (kWh/yr)
profile_data_renewable_contribution_elec | Renewable contribution elec. (kWh/yr)
profile_data_heat_loss_parameter_hlp | Heat Loss Parameter (HLP) (W/k) (see pop-up for guidance)
profile_data_co_heating_loss | Co-heating test carried out as part of the BPE (see pop-up notes)
profile_data_fabric_energy_efficiency | Fabric Energy Efficiency (kWh/m2/year)
profile_data_sap_rating | SAP Rating
profile_data_sap_version_year | SAP Version (year)
TEST RESULTS
Air Tightness Test
profile_data_air_tightness_rate | Airtightness m³/(hr.m²)@50Pa (see pop-up for important guidance) |  | 5 | 7.78
BUS survey (please give the BUS result between 1 and 7). This is taken from the BUS Summary (overall variables table). Please complete this for "as built" only If a second BUS has been undertaken please add this as an intervention
profile_data_profile_temperature_in_summer | Air in summer overall
profile_data_profile_temperature_in_winter | Air in winter overall
profile_data_profile_air_in_summer | Comfort overall
profile_data_profile_air_in_winter | Design
profile_data_profile_lightning | Health (perceived)
profile_data_profile_noise | Lighting overall
profile_data_profile_comfort | Needs
profile_data_profile_design | Noise overall
profile_data_profile_needs | Temperature summer overall
profile_data_profile_health | Temperature winter overall
profile_data_profile_bus_summary_index | Enter the BUS Summary Index given as a "Study building percentile" and supplied by Arup in the BUS report
profile_data_profile_bus_report_url | Enter the BUS URL supplied by Arup
FABRIC
External doors
door_sets_0_door_type | External door type |  | Solid (< 30% glazing) | Solid (< 30% glazing)
door_sets_0_door_type_other | External door type other
door_sets_0_uvalue | Predominant u-value for external doors |  | 1.2
Roof
roofs_0_construction | Roof construction type (predominant) |  | Pitched access to loft | Pitched access to loft
roofs_0_construction_other | Roof construction type other
roofs_0_uvalue | Predominant u-value for roof |  | 0.11
Walls
walls_0_construction | Wall construction type (predominant) |  | Cavity | Cavity
walls_0_construction_other | Wall construction type other
profile_data_best_u_value_for_walls | Predominant u-value for walls |  | 0.2 | 0.19
Windows
window_sets_0_window_type | Type of glazing (predominant) |  | Double glazed | Double glazed
window_sets_0_frame_type | Type of frame (predominant) |  | uPVC | uPVC
window_sets_0_frame_type_other | Type of glazing and frame (predominant) other
window_sets_0_percentage_glazing | Give the total glazing area as % of property Note this is of total heat loss area |  | 12% | 12%
window_sets_0_area | Area of glazing in m² |  | 29.98 | 29.98
window_sets_0_uvalue | Predominant u-value for glazing |  | 1.4 | 1.37
Floors
floors_0_construction | Type of floor construction (predominant) |  | Solid | Solid
floors_0_construction_other | Type of floor construction (predominant) other
floors_0_uvalue | Predominant u-value for floor |  | 0.15
SYSTEMS AND TECHNOLOGIES
Low Energy Lighting
low_energy_lights_0_light_type | Low energy lighting type |  | CFL | CFL
low_energy_lights_0_light_type_other | Low energy lighting type other
Heating System
heating_systems_0_heating_type | Predominant heating system for this dwelling (see pop-up note) |  | Boiler systems | Boiler systems
heating_systems_0_boiler_type | Choose predominant heat delivery system |  | Gas boilers | Gas boilers
heating_systems_0_boiler_type_other | Notes on other heating systems
heating_systems_0_fuel | Predominant fuel type (see pop-up note) |  | Mains gas | Mains gas
heating_systems_0_fuel_other | Fuel type other
heating_systems_0_controls_make_and_model | Heating system make and model (if appropriate, see pop-up note)
Hot Water System
hot_water_systems_0_dhw_type | DHW predominantly from |  | From main heating system | From main heating system
hot_water_systems_0_fuel | DHW fuel |  | Mains gas | Mains gas
hot_water_systems_0_fuel_other | DHW fuel other
hot_water_systems_0_cylinder_capacity | State DHW cylinder capacity or state if not present |  | 210l | 210l
hot_water_systems_0_cylinder_capacity_other | State DHW cylinder capacity other
hot_water_systems_0_immersion | Is an electric immersion heater present |  | Single | Single
Ventilation Systems
ventilation_systems_0_approach | Ventilation approach |  | Mechanical | Mechanical
ventilation_systems_0_approach_other | Ventilation approach other
ventilation_systems_0_ventilation_type | Ventilation type |  | MVHR | MVHR
ventilation_systems_0_ventilation_type_other | Ventilation type other |  | ITHO HRU ECO4 | ITHO HRU ECO4
ventilation_systems_0_ductwork_type | Type of ductwork |  | Mixed | Mixed
ventilation_systems_0_ductwork_type_other | Type of ductwork other
ventilation_systems_0_controls | Installed controls |  | No time or thermostatic control of room temperature | No time or thermostatic control of room temperature
ventilation_systems_0_controls_other | Installed controls other
ventilation_systems_0_operational_settings | Operational settings for the system |  | Factory settings | Factory settings
ventilation_systems_0_operational_settings_other | Operational settings for the system other
Biomass Boilers and Stoves
biomasses_0_biomass_type | Specify boiler or stove fuel
biomasses_0_model | Make and model of boiler or stove
biomasses_0_capacity | System capacity (Peak Power) (kWth)
mCHP
chps_0_chp_type | System type
chps_0_model | Make / model (mCHP)
chps_0_capacity_elec | System capacity (Peak Power) (kWelec.)
chps_0_capacity_thermal | System capacity (Peak Power) (kWth)
chps_0_est_annual_generation | Estimated annual generation (kWh/yr)
Heat Pumps
heat_pumps_0_heat_pump_type | Heat pump type
heat_pumps_0_make_model | Make / model
heat_pumps_0_cop | CoP (as per manufacturers spec)
heat_pumps_0_capacity | System capacity (Peak Power) (kWth)
heat_pumps_0_est_annual_generation | Estimated annual energy generation (kWh/yr)
Photovoltaic Panels
photovoltaics_0_photovoltaic_type | PV modules type
photovoltaics_0_photovoltaic_type_other | PV module type other
photovoltaics_0_make_model | Make / model (PV module)
photovoltaics_0_capacity | System capacity (Peak Power) (kWelec.)
photovoltaics_0_area | Area (m2)
photovoltaics_0_orientation | Orientation
photovoltaics_0_pitch | Pitch (degrees from horizontal)
photovoltaics_0_est_annual_generation | Estimated annual energy generation (kWh/yr)
Small Hydro Plants
small_hydros_0_hydro_type | Small hydro type
small_hydros_0_make_model | Make / model (hydro turbine)
small_hydros_0_capacity | System capacity (Peak Power)
small_hydros_0_est_annual_generation | Estimated annual energy generation (kWh/yr)
Solar Thermal Panels
solar_thermals_0_solar_type | Solar thermal panel type
solar_thermals_0_solar_type_other | Solar thermal panel type other
solar_thermals_0_make_model | Make / model (STHW)
solar_thermals_0_area | Area (m²)
solar_thermals_0_orientation | Orientation
solar_thermals_0_pitch | Pitch (degrees)
solar_thermals_0_est_annual_generation | Estimated annual energy generation (kWh/yr)
Wind Turbines
wind_turbines_0_turbine_type | Wind turbine type
wind_turbines_0_turbine_type_other | Wind turbine type other
wind_turbines_0_make_model | Make / model (turbine)
wind_turbines_0_capacity | System capacity (Peak Power at 12 m/s)
wind_turbines_0_hub_height | Hub height (m above ground level)
wind_turbines_0_est_annual_generation | Estimated annual energy generation (kWh/yr)
Note on C23: Note: You may find it useful to return to this section when you have completed the rest of this template
Note on C61: Definition: The total length of the external wall dividing the dwelling ground floor from the external environment or from an unheated adjoining space. The part of the dwelling perimeter that adjoins (e.g. by a party wall) other heated properties is not included
Note on C62: Definition: Area of floor space in the whole house including all storeys
Note on C64: Definition: Total volume of habitable property (excluding un-heated space). Storey floor area x storey height
Note on C66: Definition: All rooms including kitchens, bathrooms, WCs and circulation space (e.g. halls and landings). Circulation space should be counted as 1 room
Note on C67: Definition: All living rooms and bedrooms, but not kitchens, bathrooms, WCs or circulation space, are normally regarded as habitable for the purposes of density calculations
Note on C74: Note: Dwelling emission rate
Note on C75: Note: Target emission rate
Note on C76: Guidance Total energy requirement for space, water and electricity as modelled by SAP and taken from the DER output sheet
Note on C77: Guidance: Value to be taken from DER output sheet
Note on C78: Guidance: Value to be taken from DER output sheet
Note on C79: Guidance: Value to be taken from DER output sheet
Note on C80: Guidance: Value to be taken from DER output sheet
Note on C81: Guidance: For "As designed" use value as specified in the model For "As built" use either an updated value as modelled or if a full co-heating test was carried out use the measured figure and select yes to "co-heating test carried out as part of BPE" in the box below If no further modelling or testing was carried out to ascertain the HLP then leave the box blank in "As built"
Note on C82: Guidance: If a full co-heating test was carried out as part of the BPE study please select yes in the dropdown box. Otherwise select no
Note on C83: Guidance: Refer to Section 8f of the SAP worksheet (v. 9.90) cell 109 Fabric Energy Efficiency
Note on C89: Guidance: Add the target airtightness at design stage in the as designed value column For the BPE mandatory airtightness test (Phase 1 and 2 studies) add this to the as built column For the 2nd airtightness test (carried out at the end of Phase 2 studies only); create a new intervention and add the airtightness test result in the intervention column
Note on C140: Clarification: If the single selection in the dropdown does not cover the heating system present, please enter the primary heating system here and give further information in the other box below, select other technologies as appropriate in this sheet (e.g. MVHR if also present) and detail the full strategy in the Project Details section above as appropriate
Note on C143: Clarification: If the single selection in the dropdown does not cover the fuel(s) utilised, please enter the primary fuel used here and give further information in the other box below and detail the full heating strategy in the Project Details section above as appropriate
Note on C144: Clarification: If the single selection in the dropdown does not cover the fuel(s) utilised, please enter the primary fuel used here and give further information in the other box below and detail the full heating strategy in the Project Details section above as appropriate
Note on C145: Clarification: IF there are multiple heating systems, or the combination of systems in the heating strategy is too complex to cover here, leave blank and details in the Project Details section above as appropriate

## Validations (hidden)
Main Age:
Project type (BPE only) | Boolean [1] | Boolean [2] | Country | Region | Degree Day Region | Housing Type | Cost Base | Property type | Built Form | Terrain | England and Wales | Scotland | Northern Ireland: | Conservatory | Conservatory Height | Flat Heat Loss to Corridor | Flat - Floor heat loss type | Glazing Area | Multiple Glazing Type | Window frame type | Door type | Ventilation approach |  | Ventilation system | Building regs | Flat position | Flat external walls | Measured Yes or no
Phase 1 (Post construction and early occupation) | Yes | Yes | England | East Midlands | Borders | Social rented | Build cost | House | Semi-detached | Dense Urban | Pre 1900 (A) | Pre 1919 (A) | Pre 1919 (A) | No conservatory | 1 storey | No corridor | Exposed floor | Less than typical | Single Glazed (Not user collected) | Wood | Solid (< 30% glazing) | Mechanical | Continuous extract (MEV) | System 1: Background ventilators and intermittent extract fans | England and Wales 2002 | Ground floor | 1 | Measured
Phase 2 (In-use and post occupancy) | No | No | Scotland | East of England | East Anglia | Shared ownership | Market value of property | Bungalow | Mid-terrace | Low Rise Urban | 1900-1929 (B) | 1919-1929 (B) | 1919-1929 (B) | Non-separated conservatory | 1.5 storeys | Heated corridor | Semi exposed upper floor to unheated space | Normal | Pre 2002 | uPVC | Glazed (30% - 60% glazing) | Mixed mode (please give details below) | MVHR | System 2: Passive stack ventilation (PSV) | England and Wales 2006 | Mid floor | 1.5 | Not measured
Both Phase 1 & 2 |  | Unknown | Wales | London | East Pennines | Private rented |  | Flat | End-terrace | Suburban | 1930-1949 (C) | 1930-1949 (C) | 1930-1949 (C) | Separated - no fixed heaters | 2 storeys | Unheated corridor | Semi exposed upper floor to partially heated space | More than typical | Post or during 2002 | Vinyl | Other (please specify) | Passive | Intermittent extract fans | System 3: Continuous mechanical extract (MEV) | England and Wales 2010 | Top floor | 2
|  |  | Northern Ireland | North East | East Scotland | Private owner occupier |  | Maisonette | Enclosed mid | Rural | 1950-1966 (D) | 1950-1964 (D) | 1950-1973 (D) | Separated - fixed heaters | 2.5 storeys | Other (please specify) | Not exposed | Much more than typical | Don’t know | Aluminium |  | Other (please specify) | Passive stack | System 4: Continuous mechanical supply and extract with heat recovery (MVHR) | Scotland 2004 |  | 2.5
|  |  |  | North West | Midland | Demonstrator (i.e.on an innovation park) |  | Other (please specify) | Enclosed end | Other (please specify) | 1967-1975 (E) | 1965-1975 (E) | 1974-1977 (E) | Other (please specify) | 3 storeys |  | Other (please specify) |  | Secondary Glazed | Aluminium with thermal break |  |  | Trickle vents | Other (please specify) | Scotland 2010 |  | 3
|  |  |  | Northern Ireland | North East | Other (please specify) |  |  | Detached |  | 1976-1982 (F) | 1976-1983 (F) | 1978-1985 (F) | [6 empty] | Steel |  |  | Other (please specify) |  | Northern Ireland 2000 |  | 3.5
|  |  |  | Scotland | North East |  |  |  | Flat - ground floor |  | 1983-1990 (G) | 1984-1991 (G) | 1986-1991 (G) | [6 empty] | Fibreglass |  |  |  |  | Northern Ireland 2006 |  | 4
Hierarchy | Stage |  |  | South East | North West |  |  |  | Flat - mid floor |  | 1991-1995 (H) | 1992-1998 (H) | 1992-1999 (H) | [6 empty] | Composite (wood/aluminium) |  |  |  |  | Other (please specify) |  | All
0 - fabric testing only | Create |  |  | South West | North West Scotland |  |  |  | Flat - top floor |  | 1996-2002 (I) | 1999-2002 (I) | 2000-2006 (I ) | [6 empty] | Other (please specify)
1 - basic monitoring, meter readings only | As designed |  |  | Wales | Northern Ireland |  |  |  | Other (please specify) |  | 2003-2006 (J) | 2003-2007 (J) | 2007 onwards (K)
2 - smart metering & environmental conditions | As built |  |  | West Midlands | Scotland | [5 empty] | 2007 onwards (K) | 2008 onwards (K) |  |  |  |  | Property stage
3 - whole house monitoring with sub metering & occupant evaluation | Intervention |  |  | Yorks and Humber | Severn Valley | [11 empty] | As designed
4 - full comprehensive monitoring with occupancy sensors & occupant evaluation | Pre-retrofit |  |  |  | South | [5 empty] | Building regs | [5 empty] | As built
| Planned retrofit |  |  |  | South East | [5 empty] | England and Wales 2002
| Post retrofit |  |  |  | South West | [5 empty] | England and Wales 2006
[5 empty] | Thames Valley | [5 empty] | England and Wales 2010
[5 empty] | Wales | [5 empty] | Scotland 2004
[5 empty] | West Pennines | [5 empty] | Scotland 2010
[5 empty] | West Scotland | [5 empty] | Northern Ireland 2000
Northern Ireland 2006
| Main heat source | Heat transport | Heat delivery | Main Heating Type | Main Heating Type Efficiency derived from | Boiler Type | Open Flue | Main Fuel |  |  | Other (please specify) |  |  |  |  | Building element
| Oil | Air | Conduction | Boiler to radiators or trench heaters | SAP default | Condensing system (vented) | No (balanced) | Mains gas | [7 empty] | Walls
| Gas | Water | Radiation | Community heating | SEDBUK | Condensing system (unvented) | Yes (open) | LPG | [7 empty] | Floor
| Electric | Other (please specify) | Convection radiators | Storage heaters | From manufacturer | Condensing combi |  | Bottled LPG | [7 empty] | Roof
Electricity meter type | Biomass |  | Convection trench heaters | Warm air |  | Combined primary storage units |  | Oil | [7 empty] | Windows
Single | Air source |  | Convection fire or stove | Range cooker |  | Back boiler |  | House coal | [7 empty] | Doors
Dual | Ground/water source |  | Other (please specify) | Heat pump – wet system |  | Other |  | Smokeless | [7 empty] | Other (please specify)
24 hour | Solar thermal |  |  | Heat pump – warm air |  |  |  | Anthracite
Smart | Other (please specify) |  | Room heaters |  |  |  |  | Wood logs
None |  |  | Electric ceiling heating |  |  |  |  | Wood pellets
Import/export |  |  | Electric underfloor heating |  |  |  |  | Wood chips
Unknown |  |  | Biomass Boiler |  |  |  |  | Solar
Other (please specify) |  |  | Wood Pellet Stove |  |  |  |  | Dual fuel (mineral and wood)
|  |  | None |  |  |  |  | Electricity |  |  |  |  | Immersion |  |  |  |  | Biomass |  | Biomass stove type
[8 empty] | Waste combustion (community heating only) |  |  |  |  | No |  |  |  |  | Wood logs |  | Wood burning stove (logs)
[8 empty] | Biomass (community heating only) |  |  |  |  | Single |  |  |  |  | Wood pellets |  | Automatic
[6 empty] | Type of low energy lighting |  | Biogas (landfill) (community heating only) |  |  |  |  | Dual |  |  |  |  | Wood chips
|  |  | Hot water cylinder size (ltr) | Cylinder insulation type | Cylinder insulation thickness | CFL |  | Other (please specify) | [9 empty] | Dual fuel (mineral and wood)
| Water heating (DHW) heating fuel |  | Normal (90-130) | None | None | Halogen | [11 empty] | Other (please specify)
| Mains gas |  | Medium (131-170) | Jacket | 12mm | Energy saving halogen
| LPG |  | Large (>170) | Spray foam | 25mm | Incandescent
Water heating type (DHW) | Bottled LPG |  | No cylinder | Not listed (please specify) | 38mm | LED
From main heating system | Oil |  | No access |  | 50mm | Other (please specify)
Electric immersion (on- peak or off peak) | House coal |  | Not listed (please specify) |  | 80mm | [5 empty] | timber frame between studs / between studs external / between studs internal
Exchanger | Smokeless |  |  |  | 120mm | [5 empty] | full fill and partial fill instead of filled. Other.
Instant | Anthracite |  |  |  | 160mm
Gas multi point | Wood logs |  |  |  | Not listed (please specify)
Gas single point | Wood pellets
From secondary | Wood chips
Solar thermal (full or partial) | Dual fuel (mineral and wood)
Biomass | Electricity
None | Solar thermal
Biomass
Pitched access to loft
[8 empty] | Roof insulation thickness | [12 empty] | Pitched no access to loft
|  |  | Wall insulation | Derived | Location (for alternative walls only) | Construction (roofs) | Roof insulation location | 12mm | Type (glazing) | *date | Construction (floors) | Insulation | Roof room insulation type | Model/Software used |  |  | Orientation |  | Orientation 2 |  | Pitched warm roof - no loft
| Type (walls & roofs) | Construction (walls) | External | SAP output | Main | Pitched access to loft | Rafters | 25mm | Single glazed | England and Wales: 2002 | Solid | As built | No insulation | SAP |  |  | North |  | North/South |  | Thatched
| Main dwelling | Stone (granite or whinstone) | Timber frame between studs external | Measured | Extension | Pitched no access to loft | Joists | 50mm | Secondary Glazed | Scotland: 2006 | Suspended timber | Retro-fitted | Flat ceiling only | PHPP |  |  | North east |  | North east / South west |  | Flat
| Auxiliary space | Stone (sandstone) | Full filled cavity | Assumed | Second extension | Pitched warm roof - no loft | Flat roof (cold roof) | 75mm | Single glazed roof light | Northern Ireland: 2003 | Suspended - not timber | Unknown | All Elements | IES |  |  | East |  | East / West |  | Other dwelling above
Type (storeys & floors) | Upper storeys (please specify) | Solid brick | Partial filled cavity | Modelled | X extension | Thatched | Flat roof (warm roof) | 100mm | Secondary glazed roof light |  | Other (please specify) |  | Unknown |  |  |  | South east |  | North west / South east |  | Other (please specify)
Main dwelling | Alternative wall (please specify) | Cavity | Timber frame between studs | Unknown |  | Flat | Other (please specify) | 150mm | Double glazed | [7 empty] | South
Auxiliary space | Other (please specify) | Timber frame | Internal |  |  | Other dwelling above |  | 200mm | Triple glazed | [7 empty] | South west
|  | System built | Timber frame between studs internal | Assumed |  | Other (please specify) |  | 250mm | Triple glazed roof light | [7 empty] | West
|  | Cob |  | As designed |  |  |  | 300mm+ | Other (please specify) | [7 empty] | North west
|  | Hybrid (please specify) |  | As built |  |  |  | Don't know
|  | Other (please specify) | [5 empty] | Not applicable
Other (please specify)
|  |  |  | Hydro Turbine Type |  |  | Heat source | Airtightness strategy | Passive Solar | mCHP |  | Heat Pump Type [1] | Heat Pump Type [2] |  |  |  |  | Bore Hole/Trench:
| Solar Collector Type | Wind Turbines Type | Wind speed at site | Archimedean screw |  | Collector | Ground | Barrier | Solar gain | Stirling engine micro-CHP |  | Ground-to-air | [5 empty] | Bore hole
| Evacuated tube | Building mounted - horizontal axis | NOABL |  |  | Bore hole | Aquifer | Sealing method | Solar shading | Internal combustion engine CHP |  | Ground-to-air with auxiliary heater | [5 empty] | Trench
| Flat plate | Building mounted - vertical axis | Energy Saving Trust |  |  | Trench | Open water | Penetrations sealing |  | Fuel cell CHP technology |  | Ground-to-air | [5 empty] | Slinky
PV Modules Type | Direct | Pole mounted - horizontal axis | Carbon Trust |  |  | Slinky | Other (please specify) | Other (please specify) |  |  |  | Ground-to-air with auxiliary heater | [5 empty] | Aquifer
Mono-crystalline | Indirect | Pole mounted - vertical axis | Measured |  |  | Other (please specify) | [5 empty] | Water-to-water | [5 empty] | Open water
Poly-crystalline | Other (please specify) | Other (please specify) | Other (please specify) | [8 empty] | Water-to-water with auxiliary heater | [5 empty] | Other (please specify)
Hybrid | [11 empty] | Water-to-air
Thin film | [11 empty] | Water-to-air with auxiliary heater
Amorphous | [11 empty] | Air-to-air
BIPV | [11 empty] | Air-to-air with auxiliary heater
Other (please specify) | [11 empty] | Air-to-water
Air-to-water with auxiliary heater
Other (please specify)

## Heating systems & controls (hidden)
Heating system |  | Solid fuel |  | Ventilation controls | Controls | Emitter | Secondary heating Fuel | Source Information |  | Sedbuk version | Ductwork | Fan location | Ventilation system settings
Gas boilers | Standard with automatic ignition | Wood logs | Boiler systems | No time or thermostatic control of room temperature | No time or thermostatic control of room temperature | Radiators | Mains gas | SAP | Wood logs | 2005 | Rigid | Kitchen | Factory settings
Gas combined primary storage units (CPSU) | Standard with permanent pilot | Wood pellets | Community heating | Programmer and room thermostat | Programmer and room thermostat | Underfloor heating | LPG | Manufacturer specification | Wood pellets | 2009 | Semi-rigid | Bathroom | Configuration by specialist
Oil boilers | Condensing with automatic ignition | Wood chips | Storage heaters | Timer | Programmer room thermostat and TRVs | Oversized rads | Bottled LPG | Installer specification | Wood chips |  | Flexible | En suite | Programmed by occupier
Gas range cooker boilers | Condensing combi | Coal | Warm air systems | Central control | Programmer TRVs and bypass | Rads and underfloor | Oil |  | Dual fuel (mineral and wood) |  | Mixed | Utility | Used real-time by occupier
Oil range cooker boilers | Combi with automatic ignition | Anthracite | Heat pumps | Humidistat | Programmer TRVs and boiler energy manager | Oversized rads and underfloor | House coal |  |  |  | Other (please specify) | Other (please specify) | Other (please specify)
Solid fuel boilers | Combi with permanent pilot | Mixed fuel | Room heaters | Passive infrared | Temperature zone control | Fan coil unit | Smokeless
Electric boilers | Condensing combi with automatic ignition |  | Other systems (please describe) | Other (please specify) | Time and temperature zone control | Trench / perimeter heating | Anthracite
Community heating | Back boiler (2000 or later) |  |  |  | Programmer no thermostat | Other (please specify) | Wood logs
Storage heaters | Single burner with permanent pilot |  |  |  | Room thermostat only |  | Wood pellets
Warm air systems | Single burner with automatic ignition |  |  |  | Programmer and at least 2 room thermostats |  | Wood chips
Heat pump – wet system | Single burner |  |  |  | (Community heating) flat rate charging no thermostatic control of room temperature |  | Dual fuel (mineral and wood)
Heat pump – warm air | Manual feed in heated space |  |  |  | (Community heating) flat rate charging programmer and room thermostat |  | Electricity
Biomass boilers | Auto feed in unheated space |  |  |  | (Community heating) flat rate charging programmer and TRVs |  | Other (please specify)
Solid fuel stoves | Open fire with back boiler to radiators |  |  |  | (Community heating) charging system linked to the use of community heating programmer and TRVs
mCHP | Closed room heater with back boiler to radiators |  |  |  | (Community heating) flat rate charging programmer no thermostat
Gas room heaters | Range cooker boiler (integral oven and boiler) |  |  |  | (Community heating) flat rate charging room thermostat only
Oil room heaters | Dry core storage boiler in heated space |  |  |  | (Storage heating) manual charge control
Solid fuel room heaters | Water storage boiler in heated space |  |  |  | (Storage heating) automatic charge control
Electric panel heaters | CPSU in heated space |  |  |  | No time and thermostatic control of room temperature
Electric room heaters | Direct acting |  |  |  | No thermostatic control of room temperature
Electric ceiling heating | Community heating boilers |  |  |  | Room thermostat only
Electric underfloor heating | Community heating with CHP |  |  |  | Appliance thermostats
Other (please describe) | Old large volume storage heaters |  |  |  | Programmer and appliance thermostats
| Modern slimline storage heaters |  |  |  | Not listed (please specify)
Fan storage heaters
Integrated storage/direct acting heating
Ducted/stub ducted with flue heat recovery
Condensing ducted output on-off control
Ducted output modulating control
Stub ducted
Electricaire system
Ground-to-water
Ground-to-water with auxiliary heater
Water-to-water
Water-to-water with auxiliary heater (inside the box)
Air-to-water
Air-to-water with auxiliary heater (inside the box)
Ground-to-air
Ground-to-air with auxiliary heater (inside the box)
Water-to-air
Water-to-air with auxiliary heater (inside the box)
Air-to-air
Air-to-air with auxiliary heater (inside the box)
Room sealed/external air inlet
Combustion air from room
Stand alone or feeding auxiliary radiators
Fire or wall heater with balanced flue
Condensing fire
Closed front fire with fan flue
Flush fitting live fuel effect open front fire sealed to fireplace - no fan flue
Flush fitting live fuel effect open front fire sealed to fireplace - fan flue
Decorative fuel effect fire open to chimney
Flueless fire
Room heater
Open fire in grate
Closed room heater
Panel/convector/radiant heaters
Portable electric heaters
Electric ceiling heating
Off-peak only
Integrated storage/direct acting
On-peak only
Not listed (please specify)